## WLOU_History
Gauge # | Gauge Type | Associated DSC XS | Installed | Surveyed | Destroyed/Removed | DSC XS Data? | Continuous Gauge Location? | Notes
1 | temporary | DSC1 | 2016 | yes - date? | removed - date? | yes - 20180822 | yes | There has been one DSC XS at WLOU and two staff gauges (permanent & temporary). The named location data should contain an offset between temporary and permanent and we have survey data to delineate the hydrologic controls at the discharge XS.
2 | permanent | DSC1 | 2019-10-01 | yes - date? | current gauge | yes - 20180822 | yes

## WLOU_Gaugings
WY | Number_L1_Gaugings_for_WY | Number_L1_Gaugings_for_Rating | Outliers? | Notes
2016 | 3 | 3 |  | Probably best to apply the WY17 rating to any WY16 continuous data since there are only 3 gauging records available for this period.
2017 | 15? | 18 | 11/16/16, 8/19/16, 7/29/16 | Only 15 L1 gaugings for WY17? 9 warnings when script generated L1 CMS Q data. 8/19/16 & 7/29/16 from WY16 seem to be distinct.
2018

## BLDE
Gauge # | Gauge Type | Associated DSC XS | Installed | Surveyed | Destroyed/Removed | DSC XS Data? | Continuous Gauge Location? | Notes
1 | temporary | DSC1 | 2018 | 2018-08-14 | ? | yes |  | not sure if this gauge is still installed.
2 | permanent | DSC1 | 2018-08-07 | 2018-08-14 |  | yes | yes | first DSC measurement associated with the permanent gauge was on 8/7/18. NLDB should contain continuous relationship from temporary gauge.

## HOPB
Gauge # | Gauge Type | Associated DSC XS | Installed | Surveyed | Destroyed/Removed | DSC XS Data? | Continuous Gauge Location? | Notes
1 | temporary | DSC1 | 2016 | 2018-11-15 | ? | Yes - 20170921 |  | DSC1 was located at S1; gaugings associated with Gauge1 and DSC1 go from 2016 (beginning of the measurement record) to 6/8/2017. There is some scatter in the 2016 gaugings in relation to the 2017 ones.
2 | permanent | DSC1 | 2017-06-08 | 2018-11-15 | 2019-01-01 | Yes - 20170921 | not sure if NLDB can relate Gauge1 to Gauge2 | DSC1 was located at S1; gaugings from 6/8/2017 to 4/2/2019 are associated with Gauge2 and DSC1. The L0 stage/Q data lines up pretty well in this range.
3 | permanent | DSC2 | 2019-03-01 | 2019-08-19 | current gauge | Yes - 20191126 | not sure if NLDB can relate Gauge2 to Gauge3 | DSC2 is located at S2; gaugings from 4/3/19 to present are associated with Gauge3 and DSC2. The L0 stage/Q data lines up pretty well in this range.

## LEWI
Gauge # | Gauge Type | Associated DSC XS | Installed | Surveyed | Destroyed/Removed | DSC XS Data? | Continuous Gauge Location? | Notes

## POSE
Gauge # | Gauge Type | Associated DSC XS | Installed | Surveyed | Destroyed/Removed | Notes
1 | temporary
2
3